## Slide 1: Noninvasive Glucose Monitoring Using Polarized Light
Tianxing Li†,#, Derek Bai†, Temiloluwa Prioleau†, Nam Bui‡, Tam Vu‡,§, and Xia Zhou†
†Department of Computer Science, Dartmouth College, Hanover, NH
#Department of Computer Science, UMass Amherst, Amherst, MA
‡Department of Computer Science, University of Colorado Boulder, Boulder, CO
§Department of Computer Science, Oxford University, UK

## Slide 2: The Importance Of Glucose Monitoring
30+ million Americans have diabetes
Glucose monitoring can manage diabetes conditions
  Require > 3 times a day
Normal: 70-140 mg/dl
High: > 140 mg/dl
Low: < 70 mg/dl
160
130
100
70
mg/dl

## Slide 3: Existing Method #1: Finger Pricking
 Painful, invasive

## Slide 4: Existing method #2: Continuous Glucose Monitoring (CGM)
 Invasive needle

## Slide 5: Existing Noninvasive Glucose Monitoring
Skin irritation
Environmental factors

## Slide 6: Optical Noninvasive Glucose Monitoring
Light absorption
Light polarization
Raman spectroscopy
Fluorescence
Expensive and bulky
Lacking clinical evaluations
We need a noninvasive, accurate, and low-cost glucose monitoring system!

## Slide 7: Prototype In Use
17 cm
5 cm
10 cm
Sensing area

## Slide 8: Outline
Motivation & Related work
Rationale
Challenge & System Design
Prototype Evaluation
Discussion

## Slide 9: Rationale
Glucose is an optically active (chiral) molecule
  : Optical rotation
  R: Rotatory power of the molecular species
  C: Glucose concentrate
  L: Optical path
Glucose molecules
Input: Linear
polarized light
Output: Linear
polarized light
C L
Difficult to compute in vivo

## Slide 10: Challenges
#1: Skin scattering
~53% Absorbed
~5% Specular reflected light
Polarized light
~2% Polarized light
~40% Randomly polarized light
Skin
Interstitial fluid (ISF)

## Slide 11: Outline
Motivation & Related work
Rationale
Challenge & System Design
  #1 Sensing changes in Light polarization
Prototype Evaluation
Discussion

## Slide 12: Sensing Changes In Light Polarization
Liquid crystal
Linear polarizing film (0°)
Laser diode
Photodiode
Linear polarizing film (90°)
Dermis (avg. 2 mm)
Epidermis (avg. 0.1 mm)
Specular Reflected Light
Polarized light
Scattered light
P1
P2
= P1 + 0.5 x P2
= 0.5 x P2
-
=
P1

## Slide 13: Experiment Setup
Red laser diode
Diffuser
Liner polarizing film (0°)
Liquid crystal
Liner polarizing film (90°)
Photodiode

## Slide 14: Results
Chart: Time
| 1058.3333333333301 | 1065 | 1085 | 1093.3333333333301 | 1111.6666666666699 | 1121.6666666666699 | 1186.6666666666699 | 1436.6666666666699 | 1445 | 1450 | 1461.6666666666699 | 1470 | 1476.6666666666699 | 1483.3333333333301 | 1486.6666666666699 | 1495 | 1501.6666666666699 | 1508.3333333333301 | 1513.3333333333301 | 1520 | 1526.6666666666699 | 1535 | 1540 | 1551.6666666666699 | 1563.3333333333301 | 1571.6666666666699 | 1585 | 1596.6666666666699 | 1603.3333333333301 | 1610 | 1616.6666666666699 | 1630 | 1650 | 1660 | 1670 | 1676.6666666666699 | 1686.6666666666699 | 1708.3333333333301 | 1716.6666666666699 | 1730 | 1746.6666666666699 | 1755 | 1765 | 1776.6666666666699 | 1791.6666666666699 | 1801.6666666666699
Feature Value | -0.15143 | -0.14324 | -0.14795 | -0.15047 | -0.15417 | -0.15034 | -0.15417 | -0.12051 | -0.11961 | -0.11633 | -0.098877 | -0.11513 | -0.11785 | -0.11172 | -0.11667 | -0.11273 | -0.11667 | -0.11721 | -0.11961 | -0.10952 | -0.11452 | -0.11659 | -0.12376 | -0.10556 | -0.11967 | -0.12272 | -0.12877 | -0.12308 | -0.12824 | -0.12787 | -0.13071 | -0.12946 | -0.13125 | -0.13333 | -0.13333 | -0.12576 | -0.12734 | -0.13 | -0.14669 | -0.13505 | -0.14946 | -0.15106 | -0.14556 | -0.14286 | -0.14074 | -0.14421
Glucose Concentration | 98 | 99 | 98 | 97 | 96 | 96 | 93 | 183 | 192 | 192 | 197 | 205 | 199 | 198 | 198 | 198 | 193 | 189 | 186 | 183 | 179 | 173 | 169 | 164 | 159 | 153 | 147 | 143 | 139 | 136 | 135 | 133 | 130 | 126 | 123 | 123 | 122 | 118 | 116 | 113 | 114 | 115 | 115 | 115 | 117 | 116
R = 0.86, p < 0.05
= P1 + 0.5 x P2
= 0.5 x P2
Meal

## Slide 15: Challenges
#1: Skin scattering
#2: Confound factors
#3: User diversity
Lactate molecule
Elastin fiber

## Slide 16: Outline
Motivation & Related work
Rationale
Challenge & System Design
  #1 Sensing changes in Light polarization
  #2 Multiple Wavelengths & Intensity Levels
Prototype Evaluation
Discussion

## Slide 17: Multiple Wavelengths & Intensity Levels
mm
0
1
2
3
UV 350 nm
Blue 450 nm
Green 520 nm
Red 658 nm
NIR 880 nm
Dermis
Epidermis
15%–35% ISF
35%–45% ISF
<20% ISF

## Slide 18: Results
ID | Age | Gender | Race | R | 
 |  |  |  | Single W&I | Multi W&I
1 | 31 | M | Asian | 0.86 | 0.86
2 | 23 | M | Asian | 0.64 | 0.83
3 | 18 | M | Asian | 0.6 | 0.78
4 | 24 | M | Asian | 0.63 | 0.81
5 | 23 | F | Asian | 0.65 | 0.74
6 | 23 | M | White | 0.71 | 0.75
7 | 25 | M | African American | 0.46 | 0.78
8 | 24 | M | American Indian | 0.51 | 0.74
9 | 33 | F | Asian | 0.48 | 0.75
RGB lights with 7 intensity levels （21 features）

## Slide 19: Outline
Motivation & Related work
Rationale
Challenge & System Design
  #1 Sensing changes in Light polarization
  #2 Multiple Wavelengths & Intensity Levels
  #3 Generic Learning Model Using Boost Regression Trees
Prototype Evaluation
Discussion

## Slide 20: Generic Learning Model using Boost Regression Trees
#3: Generic learning model
Feature selection
Offline training
Features
21 Sensing features
6 demographic
  Age
  Gender
  Skin tone
  Type of diabetes
  Race
  Type of CGM sensors
Features are ranked by importance score using boosted tree
⅓ Features
Collect training data from 50 participants
Apply Xgboost to construct boosted trees.
Imbalanced dataset

## Slide 21: Outline
Motivation & Related work
Rationale
Challenge & System Design
Prototype Evaluation
Discussion

## Slide 22
5 cm
10 cm
Sensing area
17 cm
Laser diodes
Photodiode
Speaker

## Slide 23: Experiment Setup
Freestyle Libre sensor

## Slide 24: Study Participants
50 participants (41 patients and 9 healthy people)
Chart: 
| Male | Female
Gender | 31 | 19
Chart: 
| 18-30 | 30-50 | >50
Age | 16 | 15 | 19
Chart: 
| Asian | American Indian | African American | Hispanic or Latino | Native Hawaiian | White
Race | 14 | 2 | 4 | 3 | 3 | 24

## Slide 25: Clarke Error Grid Analysis
89% of the results are within zone A

## Slide 26: Outline
Motivation & Related work
Rationale
Challenge & System Design
Prototype Evaluation
Discussion

## Slide 27: Discussion
Ground truth
  CGM sensors vs. Finger prick blood test
Accuracy/Robustness improvement
  More diverse participants

## Slide 28: Noninvasive Glucose Monitoring Using Polarized Light
Tianxing Li†,#, Derek Bai†, Temiloluwa Prioleau†, Nam Bui‡, Tam Vu‡,§, and Xia Zhou†
†Department of Computer Science, Dartmouth College, Hanover, NH
#Department of Computer Science, UMass Amherst, Amherst, MA
‡Department of Computer Science, University of Colorado Boulder, Boulder, CO
§Department of Computer Science, Oxford University, UK

## Slide 29: Results
Chart: Time
| 1591.6666666666699 | 1665 | 1688.3333333333301 | 2135 | 2146.6666666666702 | 2168.3333333333298 | 2181.6666666666702 | 2191.6666666666702 | 2215 | 2221.6666666666702 | 2240 | 2250 | 2261.6666666666702 | 2275 | 2293.3333333333298 | 2301.6666666666702 | 2321.6666666666702 | 2353.3333333333298 | 2361.6666666666702 | 2375 | 2383.3333333333298 | 2403.3333333333298 | 2416.6666666666702 | 2426.6666666666702 | 2438.3333333333298 | 2463.3333333333298 | 2473.3333333333298 | 2483.3333333333298 | 2495 | 2513.3333333333298
Feature Value | -0.10952 | -0.11915 | -0.10247 | -0.086885 | -0.083333 | -0.083766 | -0.075681 | -0.077778 | -0.073585 | -0.056988 | -0.11741 | -0.11132 | -0.1 | -0.1125 | -0.10013 | -0.10851 | -0.10435 | -0.1 | -0.11482 | -0.14157 | -0.13333 | -0.12609 | -0.11395 | -0.13333 | -0.12927 | -0.125 | -0.125 | -0.11579 | -0.12051 | -0.11081
Glucose Concentration | 94 | 89 | 95 | 154 | 152 | 152 | 152 | 150 | 140 | 139 | 122 | 122 | 119 | 116 | 112 | 112 | 112 | 112 | 113 | 115 | 125 | 134 | 127 | 119 | 114 | 99 | 97 | 96 | 96 | 101
Chart: Time
| 1350 | 1366.6666666666699 | 1378.3333333333301 | 1465 | 1488.3333333333301 | 1503.3333333333301 | 1511.6666666666699 | 1530 | 1545 | 1555 | 1570 | 1580 | 1590 | 1606.6666666666699 | 1618.3333333333301 | 1630 | 1641.6666666666699 | 1655 | 1673.3333333333301 | 1683.3333333333301 | 1690 | 1705 | 1721.6666666666699 | 1735 | 1753.3333333333301 | 1775 | 1803.3333333333301 | 1815 | 1816.6666666666699 | 1830 | 1836.6666666666699 | 1860 | 1866.6666666666699 | 1890 | 1901.6666666666699 | 1916.6666666666699 | 1931.6666666666699 | 1940
Feature Value | -0.19623 | -0.18997 | -0.18158 | -0.18107 | -0.16023 | -0.16833 | -0.16567 | -0.17267 | -0.16418 | -0.15774 | -0.15714 | -0.16555 | -0.15665 | -0.16265 | -0.15978 | -0.16349 | -0.16288 | -0.1589 | -0.21519 | -0.18186 | -0.17748 | -0.17267 | -0.19378 | -0.20117 | -0.19 | -0.1914 | -0.21806 | -0.21275 | -0.19203 | -0.20492 | -0.20051 | -0.20894 | -0.20169 | -0.20671 | -0.20268 | -0.19706 | -0.19869 | -0.19804
Glucose Concentration | 97 | 100 | 100 | 146 | 175 | 181 | 180 | 170 | 162 | 157 | 149 | 144 | 142 | 136 | 133 | 131 | 126 | 121 | 114 | 112 | 111 | 116 | 126 | 131 | 134 | 131 | 124 | 121 | 121 | 114 | 115 | 114 | 115 | 113 | 110 | 109 | 103 | 105
Meal
Meal
R = 0.65
R = 0.6
User 2 (23 years old female Asian)
User 3 (18 years old male Asian)

## Slide 30: Practical Considerations

## Slide 31: Practical Considerations

## Slide 32: User Diversity